Society Building

Mr. Patke will help in explaining

- Developer’s unused / waste material lying in the open space as also in duct

- Front side pipes are not covered properly.

- Cracks have developed as also in stair case.

- Terrace Door – Proper slop etc. + Possibility of rain water ---

- Cracks to columns—side walls ---bridging the gaps may be necessary before the onset of rains.

- Terrace—cracks as also waterproofing issue –

- ---do-------------------------Need to avoid damage to flat no.601—602—and 603

- Terrace---- while walking from society office to solar water panels, some noise emanates.  May have to take remedial measures.

- Is it possible to make the Society aware about drainage lines / water lines by giving suitable help like providing to Society drawings etc.

- Areas of both the water tanks – ground floor and terrace and capacity of each one of them.

- RWH—whether it has been functional any time ? and /or what can be done to make it functional ?

No problems in 8 flats

- 101 --- 103---202---303---401---403 [unsold ]---503---603

Issues in 10 flats

- 102--- 201--- 203---301---302---402--501---502---601---602

Flat No:- 102—Mr. Halasgikar

- All walls have leakage like earlier.

- 1 switch of kitchen platform is not working.

Flat No:- 201—Mr. Gurav

- Terrace door—does not open properly

- Aquaguard—not cleaned since the member shifted.  Unable to use.

- Jet sprays in bathroom—started leaking within an year

- Door of the Bedroom adjacent to kitchen—door handle is loose, not fitted properly.

- Plug point in dry terrace—cover plate misplaced at the time of getting possession.

- At some places cementing work needed.

- Main door—latch hook not fitted properly. [ it is loose ]

- Master bed room—magnetic door lock detached from the wall.

- Kitchen top—leaking from the corner while cleaning.

- Shower in bathroom—common and mater bedroom—pressure is very less since he occupied the flat

========

Flat No:- 203—Dr Deshpande

[1] Water leakage and seepage issue in one of the bedrooms walls-

[2] wall paint peeled off

Flat No:- 301—Mr. Deshpande

- Paint distorted –fungus type visual effect---

- Walls near master bedroom  -------

- Attach bath

- Children’s bedroom

- Common basin area

- Dry balcony door—

- Granite frame is completely detached from one side of the wall.

- Plumbing and sanitation

- Kitchen sink leakage

- Guest bedroom commode water tank flush not functioning properly though it was repaired.

Flat No:- 302—Mrs Shah

- wall paint peeled off due to water seepage for all the walls where the repair work was carried out few months ago (chemical treatment followed by painting)

- exhaust fan cover- master bedroom washroom - needs fixing

- common washroom - wall mounted holder for spray needs fixing

- door bolts for Dry balcony and two washroom gets jammed

- bulb point in hall - loose connection

- tube light holder fitting – hall

- need day time light in common passage outside main door, lack of natural light.

Flat No:- 501—Mr Pujari

1.Leakage on the outside wall of master and common bathroom .

2 leakage on the wall of kids bedroom

3.crack in the pillar wall of terrace.

4.lamination stitched to the dry balcony door is misplaced.

5. flush water noise stand for 5-6 minutes in the common bathroom.

Flat No.502---Mr. Patke

- Almost all the walls are affected due water seepage

- Because of above, painting is disfigured / defaced.

- Cracks developed in the walls

- Terrace –cracks on the side pillars

- Front lobby—cracks are visible

- Kitchen otta—slope not done properly & water does not automatically finds it way

- Laminated sheets in bathroom doors are not pasted properly.

- Dry balcony sinks are always chocked and due to this repairing is essential for every 3 months –getting done with the help of local plumber.

- Observation---above problem could be to odd numbered flats.

Flat No:- 601—Mr Tuljapurkar

1. Leakage on walls of living room and other walls.

2. Iron grill of the left side window of master bed room broken.

3. Leakage below the commode of the common toilet..

Flat No:- 602—Mr Herlekar

- leakage/paint peeling off near couple places - wall between dry balcony and kitchen and near common wash basin

- crack in the wall in the dining area

- 2 WC cover supports damaged within 5 months of flat handover

4]  leakage from dry balcony roof sheets.

Flat No:- 402—Mr Dhavalikar

- leakage in one of the kitchen taps.